[image: image1.png]


EXHAUST O2 AND CO2 ANALYZER                        LKM2000-03


Front Panel Over view


Rear Panel Over view

Channel select S/W(Toggle)





LED Display(Green)





Air





cc/min





10





X 100





6





Calibration selection S/W(Zero/Span)





RS232C Port





Power S/W(Push)





CO2 Calibration S/W(Push)





O2 Calibration S/W(Push)





RUN/STOP selection S/W(Toggle)





Adjustable Gas Flow Meter





Manual channel select S/W





Measurement channel display LED





CO2 Display





O2 Display





0~30%





CO2





VOL.





VOL.





8





0~30%





O2





LOKAS AUTOMATION CORP.





Pin Description


1. GND


2. RX


3. TX





3





4





2





4





1





OFF





ON





POWER





RS232C





SPAN





ZERO





CAL





CAL





CO2





O2





STOP





RUN





NEXT





5





4





3





2





CH1





2





EXHAUST GAS ANALYZER





�LKM2000-03





LOKAS AUTOMATION CORP.





LKM2000-MC





MULTI CHANNEL UNIT





CH5





CH4





CH3





CH2





CH1





CHANNEL SELECT





- 0~5VDC 0~30% Val


- 0~5VDC 0~30% Val


- 0~5VDC 0~30% Val


- 0~5VDC 0~30% Val


- 0~5VDC 0~30% Val


- 0~5VDC 0~30% Val


- 0~5VDC 0~30% Val


- 0~5VDC 0~30% Val








From - LKM2000A-MC  Gas Out Link Port





Measured Gas Outlet(Vent)





Measurement Gas Inlet





To - LKM2000A-03  Gas In Link Port





CO2 Reference Data Input S/W(Push)





CO2 Reference Data Input S/W(Toggle)





15





9





8





1





15





9





8





1





15





9





8





1





Pin Description_D-sub-15p_female


1. 흑(VALVE 1)


2. 갈(VALVE 2)


3. 적(VALVE 3)


4. 황(VALVE 4)


5. 녹(VALVE 5)


9. 청(24V)


10. 회(5V)





Pin Description_D-sub-15p_female


1. 흑(CH5 SW)


2. 갈(CH4 SW)


3. 적(CH3 SW)


4. 황(CH2 SW)


5. 녹(CH1 SW)


6. 실드


7. 실드


13. 청(SET)


14. 회(UP)


15.백(DOWN)


�


CH1





CH2





CH3





CH4





CH5





GAS OUT





VALVE OPERATION





CHANNEL SELECT





DOWN





UP





OFF





SET





SET CO2 DATA





15





9





8





1





15





9





8





1





15





9





8





1





Pin Description_D-sub-15p_female


1. 흑(CH1 O2)  


2. 갈(CH1 CO2)  


3. 적(CH2 O2)


4. 황(CH2 CO2)


5. 녹(CH3 O2)


6. 청(CH3 CO2)


7. 회(CH4 O2)


8. 백(CH�4 CO2)


12. GND





Exhaust O2 & CO2 Gas Analyzer


Model : LKM-2000-03


S. N  :





LOKAS Co.,Ltd DAEJEON,KOREA





GAS OUT





GAS IN





230VAC 1A





115VAC 2A





VALVE OPERATION





CHANNEL SELECT





ANALOG OUTPUT





85~264VAC 50/60Hz


(주) 로카스           Tel: 042-863-8301,2,3 Fax: 042-863-8304  lokas@lokas.co.kr  www.lokas.co.kr


