Automatic Biosampler                    Biomate2000A


  

























































(





(











Step 1. PUMPING








(





(





(





(





(





(





Step 5. Bottle Position :  Drain











( Bottle Position :Drain 








(





Step 4. Sampling








(





(




















(









































 샘플링 순서도

















(













































































































































































(





( Peristaltic Pump : On


( Bottle Position :Drain 









































( Peristaltic Pump : On


( Bottle Position :  #1


( Flow Control Valve: On


( Air Pump: On








Step 3. Bottle Position :  #1








( Bottle Position : #1








(





(





(





(





(





(





(





(





(





(





( Peristaltic Pump : On


( Bottle Position :Drain 


( Flow Control Valve: On


( Air Pump: On










































































(





(





(








(





(


















































(








(





(





(





(





(





(





(





(





(





(





(





Step 2. PUMPING AND AIR PURGE








(





(





(





(





(





(





(





(





(












































(주) 로카스   Tel: 042-863-8301,2,3 Fax: 042-863-8304 lokas@lokas.co.kr / www.lokas.co.kr


